# Text boxes

## With Lid Tamper

## The operating gap is approx. 35mm.

## The Microswitch is for the lid tamper,

## If no resistors required, connect Alarm wiring to T3 & T5.

## For supervised loop installation, fit resistors to terminal to suit the specific panel.

### See overleaf for wiring diagrams and operation

Operation:

The contact  will operate with a gap of approximately 35mm

between the magnet and reed.

Wiring:-

Connect the device As shown in the diagram.

Check that this is acceptable

for your panel

Check that this is acceptable for your panel

## With Lid Tamper

## The operating gap is approx. 35mm.

## The Microswitch is for the lid tamper,

## If no resistors required, connect Alarm wiring to T3 & T5.

## For supervised loop installation, fit resistors to terminal to suit the specific panel.

### See overleaf for wiring diagrams and operation

#### Large 8 Terminal Surface Contact

#### Part Code: M10

Security Grade 2	Environmental Class 2

Manufactured to BS EN50131-2-6

# Knight Fire & Security Products Ltd

Unit 84, Seawall Road Industrial Estate

### Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

# Knight Fire & Security Products Ltd

Unit 84, Seawall Road Industrial Estate

### Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

#### Large 8 Terminal Surface  Contact

#### Part Code: M10

Security Grade 2	Environmental Class 2

Manufactured to BS EN50131-2-6

Operation:

The contact  will operate with a gap of approximately 35mm

between the magnet and reed.

Wiring:-

Connect the device As shown in the diagram.

Check that this is acceptable

for your panel

Check that this is acceptable for your panel

Operation:

The contact  will operate with a gap of approximately 35mm

between the magnet and reed.

Wiring:-

Connect the device As shown in the diagram.

Check that this is acceptable

for your panel

Check that this is acceptable for your panel

Operation:

The contact  will operate with a gap of approximately 35mm

between the magnet and reed.

Wiring:-

Connect the device As shown in the diagram.

Check that this is acceptable

for your panel

Check that this is acceptable for your panel

#### Large 8 Terminal Surface Contact

#### Part Code: M10

Security Grade 2	Environmental Class 2

Manufactured to BS EN50131-2-6

# Knight Fire & Security Products Ltd

Unit 84, Seawall Road Industrial Estate

### Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

## With Lid Tamper

## The operating gap is approx. 35mm.

## The Microswitch is for the lid tamper,

## If no resistors required, connect Alarm wiring to T3 & T5.

## For supervised loop installation, fit resistors to terminal to suit the specific panel.

### See overleaf for wiring diagrams and operation

#### Large 8 Terminal Surface Contact

#### Part Code: M10

Security Grade 2	Environmental Class 2

Manufactured to BS EN50131-2-6

# Knight Fire & Security Products Ltd

Unit 84, Seawall Road Industrial Estate

### Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

## With Lid Tamper

## The operating gap is approx. 35mm.

## The Microswitch is for the lid tamper,

## If no resistors required, connect Alarm wiring to T3 & T5.

## For supervised loop installation, fit resistors to terminal to suit the specific panel.

### See overleaf for wiring diagrams and operation