# Text boxes

Pass Key Switch

Part Code : P01W

Security Grade 3 Environmental Class 2

Manufactured to BS EN50131-2-6

The product provides two independent switches and a tamper switch.

Connect as shown above

Voltage Range : 0 – 100v DC, 0 – 250v AC

Switching Current : 2A MAX AC, 500mA DC

Knight Fire & Security Products Ltd

## Unit 84, Seawall Road Industrial Estate

## Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

N/C

N/O

COMC

N/O TAMP

N/O TAMP

N/C

N/O

COMC

Knight Fire & Security Products Ltd

## Unit 84, Seawall Road Industrial Estate

## Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

Pass Key Switch

Part Code : P01W

Security Grade 3 Environmental Class 2

Manufactured to BS EN50131-2-6

The product provides two independent switches and a tamper switch.

Connect as shown above

Voltage Range : 0 – 100v DC, 0 – 250v AC

Switching Current : 2A MAX AC, 500mA DC

Knight Fire & Security Products Ltd

## Unit 84, Seawall Road Industrial Estate

## Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

N/C

N/O

COMC

N/O TAMP

N/O TAMP

N/C

N/O

COMC

Knight Fire & Security Products Ltd

## Unit 84, Seawall Road Industrial Estate

## Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

Pass Key Switch

Part Code : P01W

Security Grade 3 Environmental Class 2

Manufactured to BS EN50131-2-6

The product provides two independent switches and a tamper switch.

Connect as shown above

Voltage Range : 0 – 100v DC, 0 – 250v AC

Switching Current : 2A MAX AC, 500mA DC

Knight Fire & Security Products Ltd

## Unit 84, Seawall Road Industrial Estate

## Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

N/C

N/O

COMC

N/O TAMP

N/O TAMP

N/C

N/O

COMC

Knight Fire & Security Products Ltd

## Unit 84, Seawall Road Industrial Estate

## Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

Pass Key Switch

Part Code : P01W

Security Grade 3 Environmental Class 2

Manufactured to BS EN50131-2-6

The product provides two independent switches and a tamper switch.

Connect as shown above

Voltage Range : 0 – 100v DC, 0 – 250v AC

Switching Current : 2A MAX AC, 500mA DC

Knight Fire & Security Products Ltd

## Unit 84, Seawall Road Industrial Estate

## Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

N/C

N/O

COMC

N/O TAMP

N/O TAMP

N/C

N/O

COMC

Knight Fire & Security Products Ltd

## Unit 84, Seawall Road Industrial Estate

## Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com