# Text boxes

## Knight

### Fire & Security Products Ltd

mailto:info@knightfireandsecurity.com

Unit 84 Seawall Road Ind. Estate

Cardiff  UK CF24 5TH

Tel:	0 (00 44) 29 20 48 81 29

Fax:	0 (00 44) 29 20 48 91 32

Drawing No:	H10A

Drawn:		Chris Moorman

Date:		04/09/09

All dimensions in mm

Do not scale

Description:

Grade 2	Class III

Aluminium Angle Contact

Potted - Single Reed

Operating Gap:

50mm (Approx)

Material:

Aluminium & Armoured Sleeve

Magnet:

Ferrite or Alnico V

Contact Material:

Rhodium

Voltage Range:

1 – 100v DC

125v AC Max

Switching Current:

500mA Max DC

500mA Max AC

Temperature Range:

-40oC to +50oC

Fixing Screws Provided

© Knight Fire & Security Products Ltd

All cases of ™ Infringement will be pursued.