# Text boxes

Panic Button PA2ESNL

Security Grade 3	Environmental Class 2

Manufactured to BS EN50131

# Knight Fire & Security Products Ltd

Unit 84, Seawall Road Industrial Estate

### Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

( Screw the unit base to mounting surface.

( Connect your alarm circuit wires to the PA contacts. This

will create the circuit. Once the button is pressed in the circuit

will be broken.

( Attach your tamper wires to the tamper terminals. If the lid is

removed the tamper will activate.

Other terminals are spare.

( Carefully fit the lid to the central post on the base.

( Ensure no snagging occurs.

( Operation:- Push End button inwards. The microswitch will only operate when both buttons are pushed simultaneously.

### ( Reset :- will reset on releasing the buttons

#### See drawing overleaf

PA2E Plan View:

Double End Push

# Knight Fire & Security Products Ltd

Unit 84, Seawall Road Industrial Estate

### Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

PA2E Plan View:

Double End Push

# Knight Fire & Security Products Ltd

Unit 84, Seawall Road Industrial Estate

### Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

Panic Button PA2ESNL

Security Grade 3	Environmental Class 2

Manufactured to BS EN50131

PA2E Plan View:

Double End Push

PA2E Plan View:

Double End Push

Panic Button PA2ESNL

Security Grade 3	Environmental Class 2

Manufactured to BS EN50131

( Screw the unit base to mounting surface.

( Connect your alarm circuit wires to the PA contacts. This

will create the circuit. Once the button is pressed in the circuit

will be broken.

( Attach your tamper wires to the tamper terminals. If the lid is

removed the tamper will activate.

Other terminals are spare.

( Carefully fit the lid to the central post on the base.

( Ensure no snagging occurs.

( Operation:- Push End button inwards. The microswitch will only operate when both buttons are pushed simultaneously.

### ( Reset :- will reset on releasing the buttons

#### See drawing overleaf

# Knight Fire & Security Products Ltd

Unit 84, Seawall Road Industrial Estate

### Tremorfa, Cardiff CF24 5TH

### Tel:	029 2048 8129

### Fax:	029 2048 9132

www.knightfireandsecurity.com

Panic Button PA2ESNL

Security Grade 3	Environmental Class 2

Manufactured to BS EN50131

( Screw the unit base to mounting surface.

( Connect your alarm circuit wires to the PA contacts. This

will create the circuit. Once the button is pressed in the circuit

will be broken.

( Attach your tamper wires to the tamper terminals. If the lid is

removed the tamper will activate.

Other terminals are spare.

( Carefully fit the lid to the central post on the base.

( Ensure no snagging occurs.

( Operation:- Push End button inwards. The microswitch will only operate when both buttons are pushed simultaneously.

### ( Reset :- will reset on releasing the buttons

#### See drawing overleaf

( Screw the unit base to mounting surface.

( Connect your alarm circuit wires to the PA contacts. This

will create the circuit. Once the button is pressed in the circuit

will be broken.

( Attach your tamper wires to the tamper terminals. If the lid is

removed the tamper will activate.

Other terminals are spare.

( Carefully fit the lid to the central post on the base.

( Ensure no snagging occurs.

( Operation:- Push End button inwards. The microswitch will only operate when both buttons are pushed simultaneously.

### ( Reset :- will reset on releasing the buttons

#### See drawing overleaf